## Slide 1: Characterizing the Hadronic Weak Interaction with the n-3He Experiment at the Spallation Neutron Source
Josh Hamblen
University of Tennessee-Chattanooga
For the n-3He Collaboration

## Slide 2: Motivation
Reaction of Interest:
Our goal is to measure the parity violating (PV) asymmetry, Ap, between the spin of the incident cold neutron and the momentum direction of the resultant proton
PV is a clear signature of the weak force between nucleons in a reaction dominated by the strong force
We aim to measure the asymmetry to a precision of 1.6 x 10-8

## Slide 3: Theory
We can characterize the weak force in nuclear reactions
The hadronic weak interaction has been expressed as a parameterization of coupling constants involving π, ρ, ω exchange
Experimental asymmetry measurement will help constrain models.
Viviani et al, PRC 82 (2010), 044001
Theoretical calculation:
Ap ≈ (-9.4-2.5) x 10-8
Desplanques, Donoghue, Holstein, Annals of Physics (1980) 124

## Slide 4: Experimental Setup
FNPB: Fundamental Neutron Physics Beamline at Spallation Neutron Source; produces cold polarized neutrons
RF spin flipper – negligible spin-dependence of neutron velocity
3He ion chamber – serves as both target and detector
10 Gauss
solenoid
RF spin rotator
3He target /
ion chamber
FnPB cold
neutron guide
3He Beam
Monitor
FNPB
n-3He
= 1.6 x 10-8
Estimated statistical uncertainty assuming: N = 1.5x1010 n/s (neutron flux for 1 beam cycle) P = 96.2% (neutron polarization) σd = 6 (error dilution due to detector inefficiencies)
Super-mirror
polarizer

## Slide 5
Commissioned in 2006
Most powerful pulsed spallation neutron source in the world
  Design capability: 1.4 MW at 60 Hz pulse rate
17 beamlines in use
Many different fields of research
(materials research, biology, nanotechnology, fundamental physics, …)
n3He will be located at the Fundamental Neutron Physics Beamline
20K liquid hydrogen moderator produces cold neutrons
The Spallation Neutron Source at Oak Ridge National Laboratory

## Slide 6
Current Setup at FNPB: The NPDGamma Experiment
Studying the reaction: n + p  d + 
Running ends in June

## Slide 7
n3He at FNPB
n3He will be installed in summer 2014 at the conclusion of NPDGamma

## Slide 8
Rotates spin to longitudinal direction
n3He Schematic
Holding Field
Top View of n3He

## Slide 9: Transverse RF Spin Rotator
The neutrons enter the experiment with a transverse polarization.
RFSF rotates them to either along or against the neutron momentum direction.
n3He Schematic
RFSR

## Slide 10: 3He Chamber
To be filled with 3He at 1 atm
17 HV Frames with 8 wires
16 Signal Frames with 9 wires
n3He Schematic
Chamber

## Slide 11: Alignment of Subsystems
Scan beam profile upstream and transfer centroid to crosshairs
Scan beam profile downstream
Align theodolite to crosshairs
Align B-field to theodolite
Field map in RFSR/Target region
Align the position / angle of target with theodolite / autocollimator
Tune RFSR / measure polarization
Measure physics asymmetry
Minimizes systematic uncertainties due to detector asymmetries transverse to beam direction.
Feasible to align field, beam, and chamber to within 10 mrad.

## Slide 12: The n3He Collaboration
Spokespersons:
D. Bowman, M. Gericke, C. Crawford
Local Project Manager: S. Penttila
Project Engineer: Jack Thomison
Work Subpackage Leaders:
G. Greene Neutronics
L. Barrón Solenoid
C. Crawford Spin rotator
M. Gericke Target / detector
D. Bowman Preamplifiers
C. Crawford Data acquisition
N. Fomin Online analysis
J. Hamblen Integration
D. Bowman Commissioning

## Slide 13: Status and Schedule
Construction of subsystems is being completed
Preassembly in staging area near beamline will begin in May while NPDGamma completes running.
NPDGamma removed from beamline at the end of June
Installation of n3He: July-August
Alignment: September-October
Commissioning: October-November
Data Collection: Dec 2014 through Dec 2015